## SOIPIX STARS Command (Initial)
SOIPIX INTPIX4NA / HPK sCMOS STARS Command List (implemented by R.Nishimura)
| Command | Arguments | Return Value (Command Approved) | Return Value (Command Denied)
DAQ State Control | DAQ_Initialize | N/A | @DAQ_Initialize Ok: | @DAQ_Initialize Er: Now in DAQ mode. Do "STOP" first.
@DAQ_Initialize Er: Initialize failed.
@DAQ_Initialize Er: Already Initialized.
| DAQ_Deinitialize | N/A | @DAQ_Deinitialize Ok: | @DAQ_Deinitialize Er: Now in DAQ mode. Do "STOP" first.
@DAQ_Deinitialize Er: Already Deinitialized.
| DAQ_Configure | N/A | @DAQ_Configure Ok: | @DAQ_Configure Er: State Error!
| DAQ_Calib | N/A | @DAQ_Calib Ok: | @DAQ_Calib Er: State Error!
| DAQ_Run | N/A | @DAQ_Run Ok: | @DAQ_Run Er: State Error!
| DAQ_Pause | N/A | @DAQ_Pause Ok: | @DAQ_Pause Er: State Error!
| DAQ_Stop | N/A | @DAQ_Stop Ok: | @DAQ_Stop Er: State Error!
| Command | Arguments | Return Value (Command Approved) | Return Value (Command Denied)
DAQ State Report | DAQ State will be reported automatically when state was changed. |  | @DAQStat: DAQ_Initialized | N/A
@DAQStat: DAQ_Deinitialized
@DAQStat: DAQ_Configured
@DAQStat: DAQ_Calibrating
@DAQStat: DAQ_Calibrated
@DAQStat: DAQ_Run
@DAQStat: DAQ_Resume
@DAQStat: DAQ_Stop
@DAQStat: DAQ_Pause
| DAQ Sub-State report for connection. This will be reported automatically when state was changed. |  | @DAQStat: DAQ_Sconnect(Connected)
@DAQStat: DAQ_SConnect(Error)
@DAQStat: DAQ_SConnect(Disconnected)
| DAQStat | N/A | @DAQStat: DAQ_<Current DAQ Status>
Parameters (STARS standard style) |  |  | Return Value (Command Approved) | Return Value (Command Denied)
| Each subnode has SetValue/GetValue | SetValue <Value string> | @SetValue Ok: Parameter approved. | @SetValue Er: Invalid Parameter. (General) '@SetValue Er: Now in DAQ mode. Do "STOP" first. (JSONParam) '@SetValue Er: Now DAQ Board Connection is active. Do "LinkDown" first. (JSONParam) '(Some detail message following "Er: " were depends on each detector)
|  | GetValue | @GetValue <Value string> | N/A
| Node Name | Description |  | Value Type / Style
Initialize/Override almost all parameters by new JSON data.
| JSONParam | Set / Get parameter by JSON format. |  | JSON format (same as each detector's JSON parameter file)
Override specified parameter
| SVFHDR | Unique string for filename |  | String
| SVFDIR | Directory of Save data |  | String
| FNUM_C | Frame number for dark data |  | Int
| FNUM_D | Frame number for measurement |  | Int
| INTEGT | Integration Time (Exposure Time per frame) |  | Double (us)
| SVROOT | File save option (ROOT file) (for SOIPIX) |  | String "T" or "F" (True = T, False = F)
| SVBIND | File save option (Structured binary file) (for SOIPIX) |  | String "T" or "F" (True = T, False = F)
| SVSUMD | File save option (Sum Tiff/Text file) (for SOIPIX) |  | String "T" or "F" (True = T, False = F)
| SVRAWD | File save option (Raw file) (for SOIPIX) |  | String "T" or "F" (True = T, False = F)
| SVITEX | File save option (ITEX file) (for sCMOS) |  | String "T" or "F" (True = T, False = F)
| SVTIFF | File save option (TIFF file) (for sCMOS) |  | String "T" or "F" (True = T, False = F)
| SVASCI | File save option (ASCI file) (for sCMOS) |  | String "T" or "F" (True = T, False = F)
| SVDATE | File save option (Insert date in filename) |  | String "T" or "F" (True = T, False = F)
| RUNID_EN | RunID Enable |  | String "T" or "F" (True = T, False = F)
| RUNID_NUM | Set RunID number |  | Int
| Command format | Description | Return Value (Command Approved) | Return Value (Command Denied)
Parameters (Classic style based on SOIPIX DAQ) | INIT_DATA (Initialize/Override almost all parameters by new JSON data.)
| INIT_DATA {~} | Set JSON format parameters in "～". | @INIT_DATA Ok: | @INIT_DATA Er: Now in DAQ mode. Do "STOP" first.
@INIT_DATA Er: Now DAQ Board Connection is active. Do "LinkDown" first.
(Detail message following "Er: " were depends on each detector)
OVRD_DATA (Override specified parameter)
| OVRD_DATA ~ | Set parameter name and value in "～". Available parameters are shown bellow. | @OVRD_DATA Ok: Parameter approved. | @OVRD_DATA Er: Invalid Parameter.
| SVFHDR:<String> | Unique string for filename
| SVFDIR:<String> | Directory for save data.
| FNUM_C:<int value> | Frame number for dark data
| FNUM_D:<int value> | Frame number for measurement
| INTEGT:<double value> | Integration Time (Exposure Time per frame)
| SVROOT:<T/F(True = T, False = F)> | File save option (ROOT file) (for SOIPIX)
| SVBIND:<T/F> | File save option (Structured binary file) (for SOIPIX)
| SVSUMD:<T/F> | File save option (Sum Tiff/Text file) (for SOIPIX)
| SVRAWD:<T/F> | File save option (Raw file) (for SOIPIX)
| SVITEX:<T/F> | File save option (ITEX file) (for sCMOS)
| SVTIFF:<T/F> | File save option (TIFF file) (for sCMOS)
| SVASCI:<T/F> | File save option (ASCII file) (for sCMOS)
| SVDATE:<T/F> | File save option (Insert date in filename)
| ENRNID:<T/F> | RunID Enable
| STRNID:<int value> | Set RunID number
| Command format | Description | Return Value (Command Approved) | Return Value (Command Denied)
Others | hello | Test command for communication | @hello Nice to meet you. | N/A
| help | Description for commands (without hello and help) | @help DAQ_Initialize,DAQ_Configure,…,OVRD_DATA | N/A
| help <Command name> | Description of specified command | @help <Command name> <Description> | @help <Command name> This command is not available.